## cost estimate
Account | Account Title | FOAK Estimated Cost ($2024) | NOAK Estimated Cost ($2024) | FOAK Estimated Cost std ($2024) | NOAK Estimated Cost std ($2024) | FOAK LCOE | NOAK LCOE | FOAK LCOE_std | NOAK LCOE_std
10 | Capitalized Pre-Construction Costs | 37923270 | 37923270 | 3739458 | 3739458 | 50 | 50 | 4 | 4
11 | Land Cost | 77199 | 77199 | 10927 | 10927 | 0 | 0 | 0 | 0
12 | Site Permits | 72794 | 72794 | 11002 | 11002 | 0 | 0 | 0 | 0
13 | Plant Licensing | 27021652 | 27021652 | 3334054 | 3334054 | 35 | 35 | 4 | 4
14 | Plant Permits | 5039836 | 5039836 | 1200590 | 1200590 | 6 | 6 | 1 | 1
15 | Plant Studies | 5711788 | 5711788 | 1075117 | 1075117 | 7 | 7 | 1 | 1
20 | Capitalized Direct Costs | 98825268 | 38513617 | 16991770 | 10854664 | 131 | 51 | 22 | 14
21 | Structures and Improvements | 14986355 | 3442861 | 7664007 | 1379731 | 19 | 4 | 10 | 1
211 | Site Preparation/ Yard Work | 191509 | 110053 | 17746 | 10198 | 0 | 0 | 0 | 0
211.1 | Cleaning and Grubbing | 113089 | 64987 | 14819 | 8516 | 0 | 0 | 0 | 0
211.2 | Stripping Topsoil | 64338 | 36972 | 10301 | 5920 | 0 | 0 | 0 | 0
211.3 | Excavation | 14081 | 8092 | 2322 | 1334 | 0 | 0 | 0 | 0
212 | Reactor Island Civil Structures | 1655947 | 951608 | 356939 | 205119 | 2 | 1 | 0 | 0
212.1 | Reactor Building Slab Roof | 189990 | 109180 | 31765 | 18254 | 0 | 0 | 0 | 0
212.2 | Reactor Building Basement | 147569 | 84802 | 21266 | 12221 | 0 | 0 | 0 | 0
212.3 | Reactor Building Walls | 150795 | 86656 | 24482 | 14068 | 0 | 0 | 0 | 0
212.4 | Reactor Building Liner | 1010829 | 580884 | 338539 | 194545 | 1 | 0 | 0 | 0
212.5 | Reactor Building HVAC | 156762 | 90085 | 96666 | 55550 | 0 | 0 | 0 | 0
213 | Main Function Buildings | 73547 | 42264 | 5634 | 3238 | 0 | 0 | 0 | 0
213.1 | Energy conversion Building | 48666 | 27966 | 5048 | 2901 | 0 | 0 | 0 | 0
213.11 | Energy Conversion Building Slab Roof | 15218 | 8745 | 2542 | 1461 | 0 | 0 | 0 | 0
213.12 | Energy Conversion Building Basement | 11840 | 6804 | 1858 | 1068 | 0 | 0 | 0 | 0
213.13 | Energy Conversion Building Walls | 21607 | 12416 | 3226 | 1854 | 0 | 0 | 0 | 0
213.2 | Control building | 24880 | 14297 | 2564 | 1473 | 0 | 0 | 0 | 0
213.21 | Control Building Slab Roof | 7756 | 4457 | 1267 | 728 | 0 | 0 | 0 | 0
213.22 | Control Building Basement | 6076 | 3491 | 991 | 569 | 0 | 0 | 0 | 0
213.23 | Control Building Walls | 11048 | 6348 | 1820 | 1046 | 0 | 0 | 0 | 0
214 | Buildings to Support Main Function | 13026063 | 2316358 | 7626152 | 1347461 | 17 | 3 | 10 | 1
214.7 | Emergency and Start-up Power Systems Building | 12989456 | 2295321 | 7626480 | 1347648 | 17 | 3 | 10 | 1
214.72 | Diesel Generator | 12989456 | 2295321 | 7626480 | 1347648 | 17 | 3 | 10 | 1
214.8 | Auxilliary Building | 36607 | 21036 | 3355 | 1928 | 0 | 0 | 0 | 0
214.81 | Maniplator Building | 36607 | 21036 | 3355 | 1928 | 0 | 0 | 0 | 0
214.811 | Manipulator Building Slab Roof | 6120 | 3517 | 997 | 573 | 0 | 0 | 0 | 0
214.812 | ManipulatorBuilding Basement | 17986 | 10335 | 2761 | 1587 | 0 | 0 | 0 | 0
214.813 | Manipulator Building Exterior Walls | 12501 | 7183 | 1779 | 1022 | 0 | 0 | 0 | 0
215 | Supply Chain Buildings | 39287 | 22576 | 3675 | 2111 | 0 | 0 | 0 | 0
215.1 | Storage Building | 39287 | 22576 | 3675 | 2111 | 0 | 0 | 0 | 0
215.11 | Storage Building Slab Roof | 15065 | 8657 | 2375 | 1365 | 0 | 0 | 0 | 0
215.12 | Storage Building Basement | 11728 | 6740 | 1537 | 883 | 0 | 0 | 0 | 0
215.13 | Storage Building Walls | 12492 | 7179 | 2097 | 1205 | 0 | 0 | 0 | 0
22 | Reactor System | 47720265 | 9722120 | 5101329 | 926779 | 63 | 12 | 6 | 1
221 | Reactor Components | 33040405 | 6398302 | 4330294 | 777279 | 43 | 8 | 5 | 1
221.1 | Reactor Vessel and Accessories | 8223322 | 2122279 | 1135178 | 292967 | 10 | 2 | 1 | 0
221.11 | Reactor Support | 803563 | 207384 | 115020 | 29684 | 1 | 0 | 0 | 0
221.12 | Outer Vessel Structure | 481667 | 124309 | 110195 | 28439 | 0 | 0 | 0 | 0
221.13 | Inner Vessel Structure | 6938090 | 1790586 | 1138656 | 293865 | 9 | 2 | 1 | 0
221.2 | Reactor Control Devices | 7030744 | 1133061 | 637571 | 101954 | 9 | 1 | 0 | 0
221.21 | Reactivity Control System | 7030744 | 1133061 | 637571 | 101954 | 9 | 1 | 0 | 0
221.211 | Reactivity Control System Fabrication | 4363255 | 696160 | 643194 | 102622 | 5 | 0 | 0 | 0
221.212 | Installation | 1034443 | 165046 | 169475 | 27039 | 1 | 0 | 0 | 0
221.213 | Control Drums Materials (Absorber) | 615417 | 108748 | 99790 | 17633 | 0 | 0 | 0 | 0
221.214 | Control Drums Materials (Reflector) | 43313 | 7653 | 6861 | 1212 | 0 | 0 | 0 | 0
221.215 | Control System Drive Mechanism | 974314 | 155452 | 139952 | 22329 | 1 | 0 | 0 | 0
221.3 | Non-Fuel Core Internals | 17786337 | 3142961 | 4313656 | 762251 | 23 | 4 | 5 | 1
221.31 | Reflector | 44581 | 7877 | 5097 | 900 | 0 | 0 | 0 | 0
221.311 | Radial Reflector | 27747 | 4903 | 4648 | 821 | 0 | 0 | 0 | 0
221.312 | Axial Reflector | 16833 | 2974 | 2658 | 469 | 0 | 0 | 0 | 0
221.32 | Shield | 17000713 | 3004136 | 4315313 | 762544 | 22 | 3 | 5 | 1
221.321 | In Vessel Shield Materials | 16925315 | 2990813 | 4314339 | 762371 | 22 | 3 | 5 | 1
221.322 | Out The Vessel Shield Materials | 75398 | 13323 | 13827 | 2443 | 0 | 0 | 0 | 0
221.33 | Moderator | 741043 | 130947 | 120535 | 21299 | 0 | 0 | 0 | 0
222 | Main Heat Transport System | 3456195 | 1340523 | 937253 | 190306 | 4 | 1 | 1 | 0
222.1 | Fluid Circulation Drive System | 1762843 | 311505 | 942807 | 166600 | 2 | 0 | 1 | 0
222.11 | Primary Pump | 1762843 | 311505 | 942807 | 166600 | 2 | 0 | 1 | 0
222.2 | Reactor Heat Transfer Piping System | 185295 | 32742 | 27501 | 4859 | 0 | 0 | 0 | 0
222.3 | Heat Exchangers | 621627 | 109845 | 95221 | 16826 | 0 | 0 | 0 | 0
222.31 | Primary Heat Exchanger | 621627 | 109845 | 95221 | 16826 | 0 | 0 | 0 | 0
222.5 | Initial Coolant Inventory | 886428 | 886428 | 130795 | 130795 | 1 | 1 | 0 | 0
223 | Safety Systems | 857215 | 151475 | 89521 | 15818 | 1 | 0 | 0 | 0
223.2 | Reactor Cavity Cooling System (Rvacs) | 857215 | 151475 | 89521 | 15818 | 1 | 0 | 0 | 0
223.21 | Rvacs (Cooling Vessel) | 411707 | 72751 | 63112 | 11152 | 0 | 0 | 0 | 0
223.22 | Rvacs (Intake Vessel) | 445508 | 78724 | 75003 | 13253 | 0 | 0 | 0 | 0
226 | Other Reactor Plant Equipment | 532395 | 94077 | 119064 | 21039 | 0 | 0 | 0 | 0
227 | Reactor Instrumentation and Control (I&C) | 9799351 | 1731609 | 2312751 | 408678 | 13 | 2 | 3 | 0
228 | Reactor Plant Miscellaneous Items | 34702 | 6132 | 7967 | 1407 | 0 | 0 | 0 | 0
23 | Energy Conversion System | 19223729 | 13057896 | 15370088 | 10899361 | 25 | 17 | 20 | 14
232 | Energy Applications | 18074549 | 12854829 | 15310679 | 10889132 | 23 | 17 | 20 | 14
232.1 | Electricity Generation Systems | 18074549 | 12854829 | 15310679 | 10889132 | 23 | 17 | 20 | 14
236 | Common Instrumentation & Controls | 1149180 | 203067 | 256214 | 45274 | 1 | 0 | 0 | 0
24 | Electrical Equipment | 10341279 | 7354838 | 2231144 | 1586815 | 13 | 9 | 2 | 2
241 | Switchgear | 1030922 | 733204 | 571773 | 406652 | 1 | 0 | 0 | 0
242 | Station Service Equipment | 848474 | 603444 | 455819 | 324183 | 1 | 0 | 0 | 0
243 | Switchboards | 254234 | 180814 | 128680 | 91519 | 0 | 0 | 0 | 0
244 | Protective Equipment | 717728 | 510456 | 427314 | 303910 | 0 | 0 | 0 | 0
245 | Electrical Structure & Wiring Container | 4440327 | 3158012 | 2205139 | 1568320 | 5 | 4 | 2 | 2
246 | Power & Control Wiring | 3049592 | 2168905 | 1441739 | 1025381 | 4 | 2 | 1 | 1
25 | Initial Fuel Inventory | 5132150 | 4684715 | 854982 | 868324 | 6 | 6 | 1 | 1
251 | First Core Mining | 2761136 | 2761136 | 452400 | 452400 | 3 | 3 | 0 | 0
252 | First Core Conversion | 228243 | 228243 | 30171 | 30171 | 0 | 0 | 0 | 0
253 | First Core Enrichment | 1599300 | 1599300 | 744187 | 744187 | 2 | 2 | 0 | 0
254 | First Core Fuel Assembly Fabrication | 543469 | 96034 | 65068 | 11497 | 0 | 0 | 0 | 0
26 | Miscellaneous Equipment (Cranes) | 1421487 | 251186 | 295723 | 52256 | 1 | 0 | 0 | 0
30 | Capitalized Indirect Services Cost | 11865331 | 5062673 | 2241043 | 1123381 | 15 | 6 | 2 | 1
31 | Factory & field indirect costs | 5357420 | 1714712 | 1118201 | 708773 | 7 | 2 | 1 | 0
32 | Factory and construction supervision | 1769094 | 624748 | 1204158 | 420074 | 2 | 0 | 1 | 0
33 | Startup Costs | 2648863 | 1522197 | 647362 | 372013 | 3 | 2 | 0 | 0
34 | Shipping and Transportation Costs | 924112 | 531051 | 211563 | 121577 | 1 | 0 | 0 | 0
35 | Engineering Services | 681219 | 391470 | 136547 | 78468 | 0 | 0 | 0 | 0
36 | PM/CM Services | 484622 | 278493 | 95311 | 54771 | 0 | 0 | 0 | 0
40 | Capitalized training costs | 334057 | 334057 | 72890 | 72890 | 0 | 0 | 0 | 0
41 | staff recruitment and training | 334057 | 334057 | 72890 | 72890 | 0 | 0 | 0 | 0
60 | Capitalized Financial Costs | 2570817 | 1412435 | 334524 | 220970 | 3 | 1 | 0 | 0
62 | Interest | 2570817 | 1412435 | 334524 | 220970 | 3 | 1 | 0 | 0
70 | Annualized O&M Cost | 7220671 | 3032189 | 554484 | 335825 | 134 | 56 | 10 | 6
71 | O&M Staff | 1094468 | 1094468 | 136632 | 136632 | 20 | 20 | 2 | 2
711 | Operators | 6298 | 6298 | 954 | 954 | 0 | 0 | 0 | 0
712 | Remote Monitoring Technicians | 115506 | 115506 | 25860 | 25860 | 2 | 2 | 0 | 0
713 | Security Staff | 972663 | 972663 | 139280 | 139280 | 18 | 18 | 2 | 2
73 | Regulatory Costs | 121550 | 121550 | 27763 | 27763 | 2 | 2 | 0 | 0
75 | Capital Plant Expenditures | 5940508 | 1780316 | 543717 | 323675 | 110 | 33 | 10 | 6
751 | Annualized RPV Replacements | 110961 | 28636 | 25385 | 6551 | 2 | 0 | 0 | 0
752 | Annualized Core Barrel Replacements | 1598319 | 412495 | 262310 | 67697 | 29 | 7 | 4 | 1
753 | Annualized Moderator Replacements | 170713 | 30166 | 27767 | 4906 | 3 | 0 | 0 | 0
754 | Annualized Reflector Replacements | 10270 | 1814 | 1174 | 207 | 0 | 0 | 0 | 0
755 | Annualized Reactivity Control Replacements | 1619663 | 261021 | 146876 | 23487 | 30 | 4 | 2 | 0
759 | Annualized Misc. Replacements | 2430581 | 1046182 | 519936 | 327653 | 45 | 19 | 9 | 6
78 | Annualized Decommissioning Cost | 64143 | 35853 | 8236 | 5574 | 1 | 0 | 0 | 0
80 | Annualized Fuel Cost | 1242117 | 1139042 | 196689 | 199756 | 23 | 21 | 3 | 3
81 | Refueling Operations | 2591 | 2591 | 452 | 452 | 0 | 0 | 0 | 0
82 | Additional Nuclear Fuel | 1182286 | 1079211 | 196961 | 200034 | 22 | 20 | 3 | 3
83 | Spent Fuel Management | 57238 | 57238 | 8080 | 8080 | 1 | 1 | 0 | 0
OCC | Overnight Capital Cost | 148947928 | 81833619 | 19381654 | 12802558 | - | - | - | -
OCC per kW | Overnight Capital Cost per kW | 24023 | 13198 | 3126 | 2064 | - | - | - | -
OCC excl. fuel | Overnight Capital Cost Excluding Fuel | 143815777 | 77148903 | 19310423 | 12723834 | - | - | - | -
OCC excl. fuel per kW | Overnight Capital Cost Excluding Fuel per kW | 23196 | 12443 | 3114 | 2052 | - | - | - | -
TCI | Total Capital Investment | 151518745 | 83246054 | 19716178 | 13023529 | - | - | - | -
TCI per kW | Total Capital Investment per kW | 24438 | 13426 | 3180 | 2100 | - | - | - | -
OCC (ITC-adjusted) | Overnight Capital Cost Adjusted for the Investment Tax Credit | 108731987 | 59738542 | 14148607 | 9345868 | - | - | - | -
OCC (ITC-adjusted) per kW | Overnight Capital Cost Adjusted for the Investment Tax Credit per kW | 17537 | 9635 | 2282 | 1507 | - | - | - | -
TCI (ITC-adjusted) | Total Capital Investment Adjusted for the Investment Tax Credit | 111302805 | 61150977 | 14483131 | 9566838 | - | - | - | -
TCI (ITC-adjusted) per kW | Total Capital Investment Adjusted for the Investment Tax Credit per kW | 17952 | 9863 | 2335 | 1543 | - | - | - | -
AC | Annualized Cost | 8462788 | 4171232 | 621152 | 418040 | - | - | - | -
AC per MWh | Annualized Cost per MWh | 157 | 77 | 11 | 7 | - | - | - | -
LCOE | Levelized Cost Of Energy ($/MWh) | 358 | 188 | 35 | 23 | - | - | - | -
LCOE (ITC-adjusted) | Levelized Cost Of Energy Adjusted for the Investment Tax Credit ($/MWh) | 305 | 158 | 29 | 19 | - | - | - | -
LCOH | Levelized Cost Of Heat ($/MWth) | 96 | 50 | 9 | 6 | - | - | - | -

## Parameters
Group | Parameter | Value | Units | Description | Source
--- SETTINGS ---
Settings | cross_sections_xml_location | /projects/MRP_MOUSE/openmc_data/endfb-viii.0-hdf5/cross_sections.xml |  | File path to the OpenMC cross sections XML file on HPC | User Input
Settings | plotting | Y |  | Whether to generate and save geometry plots (Y = yes, N = no) | User Input
Settings | simplified_chain_thermal_xml | /projects/MRP_MOUSE/openmc_data/simplified_thermal_chain11.xml |  | File path to the simplified depletion chain XML file for thermal reactors | User Input
--- MATERIALS ---
Materials | Axial Reflector | Graphite |  | Axial reflector material type — may differ from radial reflector | User Input
Materials | Common Temperature | 600 | K | Uniform operating temperature applied to all materials in isothermal simulations | User Input
Materials | Control Drum Absorber | B4C_enriched |  | Neutron absorber material in the control drums (e.g. B4C_enriched, B4C_natural) | User Input
Materials | Control Drum Reflector | Graphite |  | Reflector material in the control drums (e.g. Graphite) | User Input
Materials | Coolant | NaK |  | Primary coolant material type (e.g. NaK, Helium) | User Input
Materials | Enrichment | 0.1975 | fraction | Uranium-235 enrichment fraction (0 to 1) | User Input
Materials | Fuel | TRIGA_fuel |  | Primary fuel material type (e.g. TRIGA_fuel, UO2, UN, UC, homog_TRISO) | User Input
Materials | HX Material | SS316 |  | Heat exchanger structural material (e.g. SS316) | User Input
Materials | H_Zr_ratio | 1.6 | atomic ratio | Ratio of hydrogen atoms to zirconium atoms in TRIGA fuel (ZrH hydride) | User Input
Materials | Moderator | ZrH |  | Neutron moderator material type (e.g. ZrH, Graphite, monolith_graphite) | User Input
Materials | Radial Reflector | Graphite |  | Radial reflector material type (e.g. Graphite, BeO) | User Input
Materials | TRISO Fueled | No |  | Whether the reactor uses TRISO fuel particles (Yes or No) | User Input
Materials | U_met_wo | 0.3 | weight fraction | Weight fraction of uranium metal in TRIGA fuel (remainder is ZrH matrix) | User Input
Materials | reactor type | LTMR |  | Reactor type identifier: LTMR (liquid metal thermal), GCMR (gas-cooled), or HPMR (heat pipe) | User Input
--- GEOMETRY ---
Geometry | Active Height | 78.4 | cm | Axial height of the active fuel region | User Input
Geometry | Axial Reflector Thickness | 14 | cm | Thickness of each axial neutron reflector (top and bottom) | User Input
Geometry | Core Radius | 53.2 | cm | Total core radius including the radial reflector | Calculated
Geometry | Fuel Pin Count | 300 |  | Total number of fuel pins (or fuel elements) in the entire core | Calculated
Geometry | Fuel Pin Materials | ['Zr', None, 'TRIGA_fuel', None, 'SS304'] |  | Ordered list of materials for each fuel pin region from innermost to outermost | User Input
Geometry | Fuel Pin Radii | [0.28575, 0.3175, 1.5113, 1.5367, 1.5875] | cm | Ordered list of radii defining fuel pin region boundaries from innermost to outermost | User Input
Geometry | Lattice Radius | 39.2 | cm | Radius of the hexagonal pin lattice (outer edge of outermost pin ring) | Calculated
Geometry | Moderator Pin Count | 97 |  | Total number of moderator pins in the entire core | Calculated
Geometry | Moderator Pin Inner Radius | 1.5367 | cm | Inner radius of the moderator pin cladding | User Input
Geometry | Moderator Pin Materials | ['ZrH', 'SS304'] |  | Ordered list of materials for each moderator pin region from innermost to outermost | User Input
Geometry | Moderator Pin Radii | [1.5367, 1.5875] | cm | Ordered list of radii defining moderator pin region boundaries | User Input
Geometry | Number of Rings per Assembly | 12 |  | Number of pin rings along the side of the hexagonal assembly (LTMR/HPMR) | User Input
Geometry | Pin Gap Distance | 0.1 | cm | Gap distance between adjacent pins (center-to-center minus two outer radii) | User Input
Geometry | Radial Reflector Thickness | 14 | cm | Thickness of the radial neutron reflector surrounding the active core | User Input
--- CONTROL DRUMS ---
Control Drums | All Drums Area | 3062.9415 | cm² | Total cross-sectional area of all control drums | Calculated
Control Drums | All Drums Volume | 325896.9741 | cm³ | Total volume of all control drums combined | Calculated
Control Drums | Control Drum Absorber Mass | 57.3585 | kg | Total mass of absorber material in all control drums | Calculated
Control Drums | Control Drum Reflector Mass | 515.3307 | kg | Total mass of reflector material in all control drums | Calculated
Control Drums | Control Drums Mass | 572.6891 | kg | Total combined mass of all control drums (absorber + reflector) | Calculated
Control Drums | Drum Absorber Thickness | 1 | cm | Thickness of the absorber arc section within each control drum | User Input
Control Drums | Drum Count | 12 |  | Total number of control drums in the core | Calculated
Control Drums | Drum Height | 106.4 | cm | Height of the control drums (typically active height + 2x axial reflector thickness) | User Input
Control Drums | Drum Radius | 9.016 | cm | Outer radius of each control drum | User Input
--- CORE DESIGN ---
Core Design | Axial Reflector Mass | 211.6168 | kg | Total mass of both axial reflectors (top and bottom combined) | Calculated
Core Design | Moderator Mass | 315.9395 | kg | Total mass of the neutron moderator material in the core | Calculated
Core Design | Radial Reflector Mass | 331.3399 | kg | Total mass of the radial neutron reflector | Calculated
--- OVERALL SYSTEM ---
Overall System | Burnup Steps | [0.1, 0.2, 0.5, 1.0, 2.0, 5.0, 10.0, 15.0, 20.0, 30.0, 40.0, 50.0, 60.0, 80.0, 100.0, 120.0, 140.0] | MWd/kg | Cumulative burnup values at each depletion time step | User Input
Overall System | Heat Flux | 0.85251 | MW/m² | Calculated average fuel surface heat flux at full power | Calculated
Overall System | Heat Flux Criteria | 0.9 | MW/m² | Maximum allowable fuel surface heat flux (design constraint) | User Input
Overall System | Power MWe | 6.2 | MWe | Reactor net electric power output (thermal power × thermal efficiency) | Calculated
Overall System | Power MWt | 20 | MWt | Reactor thermal power output | User Input
Overall System | Thermal Efficiency | 0.31 | fraction | Net thermal-to-electric conversion efficiency of the power conversion system | User Input
--- OPENMC SETTINGS ---
OpenMC Settings | Isothermal Temperature Coefficients | TRUE |  | Whether isothermal temperature reactivity coefficients were calculated | User Input
OpenMC Settings | SD Margin Calc | TRUE |  | Whether shutdown margin was calculated (True = ARI simulation was run) | User Input
OpenMC Settings | Temperature Perturbation | 100 | K | Temperature increase applied for isothermal temperature coefficient calculation | User Input
--- PHYSICS RESULTS ---
Physics Results | Fuel Lifetime | 1945 | days | Estimated fuel cycle length — time for the 3D-corrected keff to fall to 1.0 | Calculated
Physics Results | Fuel Tail Waste Mass | 14299.9048 | kg | Mass of depleted uranium tails produced during the enrichment process | Calculated
Physics Results | Mass U235 | 67539.1073 | g | Initial mass of U-235 in the fresh fuel load | Calculated
Physics Results | Mass U238 | 277941.7848 | g | Initial mass of U-238 in the fresh fuel load | Calculated
Physics Results | Max Peaking Factor | 2.2156 | unitless | Maximum pin peaking factor across all depletion steps — the most limiting value over the fuel lifetime | Calculated
Physics Results | Max Peaking Factors per Step | [1.9090088306013926, 1.8011493905540648, 1.903106190492632, 1.831374262545047, 1.8427454073594285, 1.881401145476891, 1.8696572236731777, 2.019217463604975, 2.083803318493229, 1.989420904091516, 2.2155993379516086, 2.1206613706882043, 2.084172646938996, 1.944639499303495, 1.886988111215115, 1.9413207091236395, 2.0073714671239515, 1.812273335673112] | unitless | List of the maximum pin peaking factor at each depletion step, in step order | Calculated
Physics Results | Natural Uranium Mass | 14645.3856 | kg | Mass of natural uranium feed required to produce the enriched fuel | Calculated
Physics Results | Rod ID with Max Peaking Factor | 183 | unitless | Pin/rod ID with the highest peaking factor across all depletion steps | Calculated
Physics Results | SDM 2D | -228.2223 | pcm | Shutdown margin from the 2D simulation (ARO keff minus ARI keff). May be negative due to 2D overestimation of keff — use 3D corrected value for safety conclusions. | Calculated
Physics Results | SDM 3D (2D corrected) | 102.7507 | pcm | Shutdown margin corrected from 2D to 3D using axial neutron leakage correction. Positive values confirm the reactor can be shut down with all drums inserted. Use this value for safety analysis. | Calculated
Physics Results | SWU | 14197.4432 | kg-SWU | Separative work units required to produce the enriched fuel | Calculated
Physics Results | Step with Max Peaking Factor | 11 | unitless | Depletion step number at which the maximum peaking factor occurs | Calculated
Physics Results | Temp Coeff 2D | 4.4999 | pcm/K | Most limiting (least negative) isothermal temperature coefficient from the 2D simulation. Negative values indicate self-stabilizing behavior. Note: 2D simulation overestimates keff — use 3D corrected value for safety conclusions. | Calculated
Physics Results | Temp Coeff 3D (2D corrected) | 4.8839 | pcm/K | Most limiting (least negative) isothermal temperature coefficient corrected from 2D to 3D using axial neutron leakage correction. Negative values confirm self-stabilizing behavior. Use this value for safety analysis. | Calculated
Physics Results | Uranium Mass | 345.4809 | kg | Total initial uranium mass in the fresh fuel load (U-235 + U-238) | Calculated
Physics Results | keff 2D | [1.3934139810920914, 1.3621579462989064, 1.3683119217309485, 1.3657184085570349, 1.3491665880988104, 1.3530423871047002, 1.3376412514911737, 1.3267348273017716, 1.3101812406953743, 1.2913604367907578, 1.2699160418231414, 1.23154405934473, 1.2108776899691756, 1.1744099735064646, 1.1162342670132217, 1.0527997850475823, 0.9896809274444107, 0.9137528679469781] |  | keff at each burnup step from 2D OpenMC simulation | Calculated
Physics Results | keff 3D (2D corrected) | [1.377623598646456, 1.3464625863684014, 1.3527216005977367, 1.3506964811393596, 1.3336901280131286, 1.3374242266430767, 1.3224083589146696, 1.3112089242438472, 1.2955343914988817, 1.2766655283861934, 1.2555890629918878, 1.2170642398998925, 1.196755107699633, 1.160959703888275, 1.1028570287832937, 1.0396754624494937, 0.9767386385499137, 0.9016039222154125] |  | keff at each burnup step corrected from 2D to 3D using axial leakage correction | Calculated
--- PRIMARY LOOP & BALANCE OF PLANT ---
Primary Loop & Balance of Plant | BoP Count | 2 |  | Number of Balance of Plant (power conversion) systems | User Input
Primary Loop & Balance of Plant | BoP Power kWe | 3100 | kWe | Electric power handled by each BoP system | Calculated
Primary Loop & Balance of Plant | BoP per loop load fraction | 0.5 | fraction | Fraction of total electric load handled by each BoP system | User Input
Primary Loop & Balance of Plant | Coolant Mass Flow Rate | 226.2955 | kg/s | Total primary coolant mass flow rate | Calculated
Primary Loop & Balance of Plant | Primary HX Mass | 5208.2253 | kg | Calculated mass of the primary heat exchanger | Calculated
Primary Loop & Balance of Plant | Primary Loop Inlet Temperature | 703.15 | K | Primary coolant temperature at the core inlet | User Input
Primary Loop & Balance of Plant | Primary Loop Mass Flow Rate | 226.2955 | kg/s | Coolant mass flow rate per primary loop | Calculated
Primary Loop & Balance of Plant | Primary Loop Outlet Temperature | 793.15 | K | Primary coolant temperature at the core outlet | User Input
Primary Loop & Balance of Plant | Primary Pump | Yes |  | Whether a primary coolant pump is present (Yes or No) | User Input
Primary Loop & Balance of Plant | Primary Pump Mechanical Power | 174.0448 | kW | Mechanical power required to drive the primary coolant pump | Calculated
Primary Loop & Balance of Plant | Pump Isentropic Efficiency | 0.8 | fraction | Isentropic efficiency of the primary coolant pump | User Input
Primary Loop & Balance of Plant | Secondary HX Mass | 0 | kg | Mass of the secondary heat exchanger (0 if none) | User Input
Primary Loop & Balance of Plant | Secondary Loop Inlet Temperature | 668.15 | K | Secondary loop coolant temperature at the heat exchanger inlet | User Input
Primary Loop & Balance of Plant | Secondary Loop Outlet Temperature | 768.15 | K | Secondary loop coolant temperature at the heat exchanger outlet | User Input
Primary Loop & Balance of Plant | Secondary Pump | No |  | Whether a secondary coolant pump is present (Yes or No) | User Input
--- SHIELDING ---
Shielding | In Vessel Shield Inner Radius | 53.2 | cm | Inner radius of the in-vessel radiation shield (equal to core radius) | User Input
Shielding | In Vessel Shield Mass | 1465.5822 | kg | Total mass of the in-vessel radiation shield | Calculated
Shielding | In Vessel Shield Material | B4C_natural |  | Material of the in-vessel radiation shield | User Input
Shielding | In Vessel Shield Outer Radius | 63.36 | cm | Outer radius of the in-vessel radiation shield | Calculated
Shielding | In Vessel Shield Thickness | 10.16 | cm | Thickness of the in-vessel radiation shield (0 if none) | User Input
Shielding | Out Of Vessel Shield Effective Density Factor | 0.5 | fraction | Effective density factor for the out-of-vessel shield — accounts for partial fill (e.g. 0.5 = 50% fill) | User Input
Shielding | Out Of Vessel Shield Mass | 3982.0853 | kg | Total mass of the out-of-vessel radiation shield | Calculated
Shielding | Out Of Vessel Shield Material | WEP |  | Material of the out-of-vessel radiation shield | User Input
Shielding | Out Of Vessel Shield Thickness | 39.37 | cm | Thickness of the out-of-vessel radiation shield | User Input
Shielding | Outer Shield Outer Radius | 114.23 | cm | Outer radius of the out-of-vessel shield (outermost boundary of the shielded assembly) | Calculated
--- VESSELS ---
Vessels | Cooling Vessel Mass | 374.8762 | kg | Total mass of the cooling vessel | Calculated
Vessels | Cooling Vessel Material | stainless_steel |  | Structural material of the cooling vessel | User Input
Vessels | Cooling Vessel Radius | 71.36 | cm | Outer radius of the cooling vessel | Calculated
Vessels | Cooling Vessel Thickness | 0.5 | cm | Wall thickness of the cooling vessel | User Input
Vessels | Gap Between Cooling Vessel And Intake Vessel | 3 | cm | Radial gap between the cooling vessel and intake vessel | User Input
Vessels | Gap Between Guard Vessel And Cooling Vessel | 5 | cm | Radial gap between the guard vessel and cooling vessel | User Input
Vessels | Gap Between Vessel And Guard Vessel | 2 | cm | Radial gap between the reactor vessel and guard vessel | User Input
Vessels | Guard Vessel Mass | 340.0818 | kg | Total mass of the guard vessel | Calculated
Vessels | Guard Vessel Material | stainless_steel |  | Structural material of the guard vessel | User Input
Vessels | Guard Vessel Radius | 66.36 | cm | Outer radius of the guard vessel | Calculated
Vessels | Guard Vessel Thickness | 0.5 | cm | Wall thickness of the guard vessel (0 if none) | User Input
Vessels | Intake Vessel Mass | 396.6232 | kg | Total mass of the intake vessel | Calculated
Vessels | Intake Vessel Material | stainless_steel |  | Structural material of the intake vessel | User Input
Vessels | Intake Vessel Radius | 74.36 | cm | Outer radius of the intake vessel | Calculated
Vessels | Intake Vessel Thickness | 0.5 | cm | Wall thickness of the intake vessel | User Input
Vessels | Total Vessels Mass | 1753.7937 | kg | Combined mass of all vessel components (pressure vessel, guard, cooling, intake) | Calculated
Vessels | Vessel Bottom Depth | 32.129 | cm | Depth of the vessel bottom head (ellipsoidal) | User Input
Vessels | Vessel Height | 156.4 | cm | Total height of the reactor pressure vessel | Calculated
Vessels | Vessel Lower Plenum Height | 2.848 | cm | Height of the lower plenum region below the active core | User Input
Vessels | Vessel Mass | 642.2125 | kg | Total mass of the reactor pressure vessel | Calculated
Vessels | Vessel Material | stainless_steel |  | Structural material of the reactor pressure vessel | User Input
Vessels | Vessel Radius | 63.36 | cm | Inner radius of the reactor pressure vessel (or core barrel) | User Input
Vessels | Vessel Thickness | 1 | cm | Wall thickness of the reactor pressure vessel | User Input
Vessels | Vessel Upper Gas Gap | 0 | cm | Height of the upper gas gap above the upper plenum (0 if none) | User Input
Vessels | Vessel Upper Plenum Height | 47.152 | cm | Height of the upper plenum region above the active core | User Input
Vessels | Vessels Total Height | 200.529 | cm | Total height of the complete vessel assembly | Calculated
Vessels | Vessels Total Radius | 74.86 | cm | Total outer radius of the complete vessel assembly | Calculated
--- OPERATION ---
Operation | A75: Core Barrel Replacement Period (cycles) | 1 | cycles | Number of fuel cycles between scheduled core barrel replacements | User Input
Operation | A75: Drum Replacement Period (cycles) | 1 | cycles | Number of fuel cycles between scheduled control drum replacements | User Input
Operation | A75: Reflector Replacement Period (cycles) | 1 | cycles | Number of fuel cycles between scheduled reflector replacements | User Input
Operation | A75: Vessel Replacement Period (cycles) | 1 | cycles | Number of fuel cycles between scheduled reactor pressure vessel replacements | User Input
Operation | A78: CAPEX to Decommissioning Cost Ratio | 0.15 | fraction | Ratio of total decommissioning cost to total capital cost (typical range: 9%–15%) | User Input
Operation | Annual Electricity Production | 53649.84 | MWh/year | Total annual electricity production at the calculated capacity factor | Calculated
Operation | Capacity Factor | 0.98781 | fraction | Annual plant capacity factor — fraction of the year the plant operates at full power | Calculated
Operation | Emergency Shutdowns Per Year | 0.2 | events/year | Expected number of unplanned emergency shutdowns per year | User Input
Operation | Levelization Period | 60 | years | Plant lifetime used for LCOE levelization (economic analysis period) | User Input
Operation | Mainenance to Direct Cost Ratio | 0.015 | fraction | Ratio of annual non-replacement maintenance cost to total direct capital cost | User Input
Operation | Maintenance to Direct Cost Ratio | 0.03 | fraction | Ratio of annual non-replacement maintenance cost to total direct capital cost | User Input
Operation | Number of Operators | 2 |  | Number of operators assigned per shift | User Input
Operation | Onsite Coolant Inventory | 7045.371 | kg | Total mass of coolant stored on site (fresh + used tanks) | User Input
Operation | Operation Mode | Autonomous |  | Reactor operation mode: Autonomous (remote) or Non-Autonomous (staffed) | User Input
Operation | Reactors Monitored Per Operator | 10 |  | Number of reactors that can be monitored by a single operator | User Input
Operation | Refueling Period | 7 | days | Duration of the scheduled refueling outage | User Input
Operation | Replacement Coolant Inventory | 0 | kg | Mass of coolant replaced per refueling cycle | User Input
Operation | Security Staff Per Shift | 1 |  | Number of security personnel required per shift | User Input
Operation | Startup Duration after Emergency Shutdown | 14 | days | Duration of the startup sequence following an emergency shutdown | User Input
Operation | Startup Duration after Refueling | 2 | days | Duration of the startup sequence following a refueling outage | User Input
--- ECONOMIC PARAMETERS ---
Economic Parameters | Annual Return | 0.0475 | fraction | Annual return rate assumed for the decommissioning reserve fund | User Input
Economic Parameters | Assumed Number Of Units For Onsite Learning | 200 |  | Number of units assumed for onsite learning (typically 2 × NOAK Unit Number) | Calculated
Economic Parameters | Construction Duration | 12 | months | Duration of plant construction used for financing cost calculation | User Input
Economic Parameters | Control Building Basement Volume | 5.9448 | m³ | Volume of concrete in the control building basement | User Input
Economic Parameters | Control Building Exterior Walls Volume | 14.2072 | m³ | Volume of concrete in the control building exterior walls | User Input
Economic Parameters | Control Building Slab Roof Volume | 5.9448 | m³ | Volume of concrete in the control building slab roof | User Input
Economic Parameters | Debt To Equity Ratio | 1 | fraction | Ratio of debt financing to equity financing for the project | User Input
Economic Parameters | Emergency Building Basement Volume | 0 | m³ | Volume of concrete in the emergency building basement (0 if none) | User Input
Economic Parameters | Emergency Building Exterior Walls Volume | 0 | m³ | Volume of concrete in the emergency building exterior walls (0 if none) | User Input
Economic Parameters | Emergency Building Slab Roof Volume | 0 | m³ | Volume of concrete in the emergency building slab roof (0 if none) | User Input
Economic Parameters | Escalation Year | 2024 | year | Reference year to which all costs are escalated for consistent comparison | User Input
Economic Parameters | Excavation Volume | 412.605 | m³ | Volume of earth to be excavated for plant construction | User Input
Economic Parameters | FTEs Per Offsite Operator (24/7) | 5 | FTE/operator | Full-time equivalents needed per offsite operator position to maintain 24/7 coverage | User Input
Economic Parameters | FTEs Per Onsite Operator (24/7) | 5 | FTE/operator | Full-time equivalents needed per onsite operator position to maintain 24/7 coverage | User Input
Economic Parameters | FTEs Per Onsite Operator Per Year | 0.017593 | FTE/operator/year | Total FTE-years per operator per year including all activities | Calculated
Economic Parameters | FTEs Per Operator Per Year Per Refueling | 0.0071296 | FTE/operator/year | Fraction of an FTE spent per operator per year on refueling-related activities | User Input
Economic Parameters | FTEs Per Security Staff (24/7) | 5 | FTE/staff | Full-time equivalents needed per security staff position to maintain 24/7 coverage | User Input
Economic Parameters | Hours Per FTE | 1800 | hours/year | Annual working hours per full-time equivalent employee | User Input
Economic Parameters | Integrated Heat Exchanger Building Basement Volume | 0 | m³ | Volume of concrete in the integrated heat exchanger building basement (0 if none) | User Input
Economic Parameters | Integrated Heat Exchanger Building Exterior Walls Volume | 0 | m³ | Volume of concrete in the integrated heat exchanger building exterior walls (0 if none) | User Input
Economic Parameters | Integrated Heat Exchanger Building Slab Roof Volume | 0 | m³ | Volume of concrete in the integrated heat exchanger building slab roof (0 if none) | User Input
Economic Parameters | Integrated Heat Exchanger Building Superstructure Area | 0 | m² | Floor area of the integrated heat exchanger building superstructure (0 if none) | User Input
Economic Parameters | Interest Rate | 0.07 | fraction | Annual discount rate used for LCOE levelization (weighted average cost of capital) | User Input
Economic Parameters | Land Area | 18 | acres | Total land area required for the plant site | User Input
Economic Parameters | Manipulator Building Basement Volume | 17.8374 | m³ | Volume of concrete in the manipulator building basement | User Input
Economic Parameters | Manipulator Building Exterior Walls Volume | 15.9195 | m³ | Volume of concrete in the manipulator building exterior walls | User Input
Economic Parameters | Manipulator Building Slab Roof Volume | 4.7566 | m³ | Volume of concrete in the manipulator building slab roof | User Input
Economic Parameters | NOAK Unit Number | 100 |  | Nth-of-a-kind unit number used to calculate the learning curve cost multiplier | User Input
Economic Parameters | Number of Samples | 100 |  | Number of Monte Carlo samples used for cost uncertainty quantification | User Input
Economic Parameters | Radwaste Building Basement Volume | 0 | m³ | Volume of concrete in the radioactive waste building basement (0 if none) | User Input
Economic Parameters | Radwaste Building Exterior Walls Volume | 0 | m³ | Volume of concrete in the radioactive waste building exterior walls (0 if none) | User Input
Economic Parameters | Radwaste Building Slab Roof Volume | 0 | m³ | Volume of concrete in the radioactive waste building slab roof (0 if none) | User Input
Economic Parameters | Reactor Building Basement Volume | 95.0976 | m³ | Volume of concrete in the reactor building basement | User Input
Economic Parameters | Reactor Building Exterior Walls Volume | 129.9564 | m³ | Volume of concrete in the reactor building exterior walls | User Input
Economic Parameters | Reactor Building Slab Roof Volume | 95.0976 | m³ | Volume of concrete in the reactor building slab roof | User Input
Economic Parameters | Reactor Building Superstructure Area | 77 | m² | Floor area of the reactor building superstructure | User Input
Economic Parameters | Refueling Building Basement Volume | 0 | m³ | Volume of concrete in the refueling building basement (0 if none) | User Input
Economic Parameters | Refueling Building Exterior Walls Volume | 0 | m³ | Volume of concrete in the refueling building exterior walls (0 if none) | User Input
Economic Parameters | Refueling Building Slab Roof Volume | 0 | m³ | Volume of concrete in the refueling building slab roof (0 if none) | User Input
Economic Parameters | Spent Fuel Building Basement Volume | 0 | m³ | Volume of concrete in the spent fuel building basement (0 if none) | User Input
Economic Parameters | Spent Fuel Building Exterior Walls Volume | 0 | m³ | Volume of concrete in the spent fuel building exterior walls (0 if none) | User Input
Economic Parameters | Spent Fuel Building Slab Roof Volume | 0 | m³ | Volume of concrete in the spent fuel building slab roof (0 if none) | User Input
Economic Parameters | Storage Building Basement Volume | 11.76 | m³ | Volume of concrete in the storage building basement | User Input
Economic Parameters | Storage Building Exterior Walls Volume | 15.768 | m³ | Volume of concrete in the storage building exterior walls | User Input
Economic Parameters | Storage Building Slab Roof Volume | 11.76 | m³ | Volume of concrete in the storage building slab roof (houses operational spares) | User Input
Economic Parameters | Turbine Building Basement Volume | 5.9448 | m³ | Volume of concrete in the turbine building basement | User Input
Economic Parameters | Turbine Building Exterior Walls Volume | 14.2072 | m³ | Volume of concrete in the turbine building exterior walls | User Input
Economic Parameters | Turbine Building Slab Roof Volume | 5.9448 | m³ | Volume of concrete in the turbine building slab roof | User Input
Economic Parameters | Work Hours Per Shift | 10 | hours | Duration of each work shift | User Input
Economic Parameters | indirect to direct field-related cost | 0.06539 | fraction | Ratio of indirect field (site) costs to total direct field costs — covers site supervision, temporary facilities, and other indirect site activities | User Input
--- LEARNING RATES ---
Learning Rates | Factory Be | 0.41505 | fraction | Learning rate for factory-manufactured beryllium components | User Input
Learning Rates | Factory Be Cost Multiplier | 0.028363 | fraction | NOAK cost multiplier for beryllium components based on Wright's Law | Calculated
Learning Rates | Factory BeO | 0.39915 | fraction | Learning rate for factory-manufactured beryllium oxide components | User Input
Learning Rates | Factory BeO Cost Multiplier | 0.033897 | fraction | NOAK cost multiplier for beryllium oxide components based on Wright's Law | Calculated
Learning Rates | Factory Drums | 0.24138 | fraction | Learning rate for factory-manufactured control drum components | User Input
Learning Rates | Factory Drums Cost Multiplier | 0.15955 | fraction | NOAK cost multiplier for factory-built control drums based on Wright's Law | Calculated
Learning Rates | Factory Other | 0.22963 | fraction | Learning rate for other factory-manufactured components | User Input
Learning Rates | Factory Other Cost Multiplier | 0.17671 | fraction | NOAK cost multiplier for other factory-built components based on Wright's Law | Calculated
Learning Rates | Factory Primary Structure | 0.18443 | fraction | Learning rate for factory-manufactured primary structural components | User Input
Learning Rates | Factory Primary Structure Cost Multiplier | 0.25808 | fraction | NOAK cost multiplier for factory-built primary structure based on Wright's Law | Calculated
Learning Rates | Licensing Learning | 0 | fraction | Learning rate for licensing costs per doubling of cumulative units produced | User Input
Learning Rates | Licensing Learning Cost Multiplier | 1 | fraction | NOAK cost multiplier for licensing costs based on Wright's Law | Calculated
Learning Rates | No Learning | 0 | fraction | Learning rate for components with no learning benefit (fixed costs, rate = 0) | User Input
Learning Rates | No Learning Cost Multiplier | 1 | fraction | NOAK cost multiplier for components with no learning (always 1.0) | Calculated
Learning Rates | Non-nuclear off-the-shelf | 0.05 | fraction | Learning rate for non-nuclear commercial off-the-shelf components | User Input
Learning Rates | Non-nuclear off-the-shelf Cost Multiplier | 0.71121 | fraction | NOAK cost multiplier for non-nuclear commercial components based on Wright's Law | Calculated
Learning Rates | Onsite Learning | 0.08 | fraction | Learning rate for onsite construction and installation activities | User Input
Learning Rates | Onsite Learning Cost Multiplier | 0.57466 | fraction | NOAK cost multiplier for onsite construction activities based on Wright's Law | Calculated
--- TAX CREDITS ---
Tax Credits | ITC credit level | 0.3 | fraction | Investment Tax Credit level under IRA Section 48E. Values: 0.06 (base), 0.30 (prevailing wage), 0.40 (+domestic content), 0.50 (+energy community). Applied as a one-time reduction to the Overnight Capital Cost. | User Input
--- DEBUG / INTERMEDIATE VALUES ---
Debug / Intermediate Values | keff 2D ARI (BOL) | 1.3726 |  | keff at each burnup step with all control drums inserted (ARI) from 2D simulation — used to calculate shutdown margin — beginning of life | Calculated
Debug / Intermediate Values | keff 2D ARI (EOL) | 0.91147 |  | keff at each burnup step with all control drums inserted (ARI) from 2D simulation — used to calculate shutdown margin — end of life | Calculated
Debug / Intermediate Values | keff 2D ARI (min) | 0.91147 |  | keff at each burnup step with all control drums inserted (ARI) from 2D simulation — used to calculate shutdown margin — minimum value | Calculated
Debug / Intermediate Values | keff 2D ARI (max) | 1.3726 |  | keff at each burnup step with all control drums inserted (ARI) from 2D simulation — used to calculate shutdown margin — maximum value | Calculated
Debug / Intermediate Values | keff 2D high temp (BOL) | 1.3965 |  | keff at each burnup step from 2D simulation at elevated temperature (Common Temperature + Perturbation) — used to calculate isothermal temperature coefficient — beginning of life | Calculated
Debug / Intermediate Values | keff 2D high temp (EOL) | 0.91501 |  | keff at each burnup step from 2D simulation at elevated temperature (Common Temperature + Perturbation) — used to calculate isothermal temperature coefficient — end of life | Calculated
Debug / Intermediate Values | keff 2D high temp (min) | 0.91501 |  | keff at each burnup step from 2D simulation at elevated temperature (Common Temperature + Perturbation) — used to calculate isothermal temperature coefficient — minimum value | Calculated
Debug / Intermediate Values | keff 2D high temp (max) | 1.3965 |  | keff at each burnup step from 2D simulation at elevated temperature (Common Temperature + Perturbation) — used to calculate isothermal temperature coefficient — maximum value | Calculated
Debug / Intermediate Values | keff 3D (2D corrected) ARI (BOL) | 1.3618 |  | keff with all rods inserted corrected to 3D — used to calculate shutdown margin — beginning of life | Calculated
Debug / Intermediate Values | keff 3D (2D corrected) ARI (EOL) | 0.90263 |  | keff with all rods inserted corrected to 3D — used to calculate shutdown margin — end of life | Calculated
Debug / Intermediate Values | keff 3D (2D corrected) ARI (min) | 0.90263 |  | keff with all rods inserted corrected to 3D — used to calculate shutdown margin — minimum value | Calculated
Debug / Intermediate Values | keff 3D (2D corrected) ARI (max) | 1.3618 |  | keff with all rods inserted corrected to 3D — used to calculate shutdown margin — maximum value | Calculated
Debug / Intermediate Values | keff 3D (2D corrected) high temp (BOL) | 1.381 |  | keff at elevated temperature corrected to 3D — used to calculate temperature coefficient — beginning of life | Calculated
Debug / Intermediate Values | keff 3D (2D corrected) high temp (EOL) | 0.90288 |  | keff at elevated temperature corrected to 3D — used to calculate temperature coefficient — end of life | Calculated
Debug / Intermediate Values | keff 3D (2D corrected) high temp (min) | 0.90288 |  | keff at elevated temperature corrected to 3D — used to calculate temperature coefficient — minimum value | Calculated
Debug / Intermediate Values | keff 3D (2D corrected) high temp (max) | 1.381 |  | keff at elevated temperature corrected to 3D — used to calculate temperature coefficient — maximum value | Calculated